## Slide 1: RNA sequencing : Opportunities and Challenges
Midwest Biopharmaceutical Statistics Workshop
May 21, 2013
Philip Ebert, Eli Lilly and Company

## Slide 2
Human genome at ten: The sequence explosion
Nature 464, 670-671 (2010)

## Slide 3: Outline
What is RNAseq?
  How does it work?
  Advantages to microarray
  Current challenges
What are the key questions for an RNAseq experiment?
  Wet-lab
  In silico
What aspects of RNAseq most impact data analysis?
  Experimental design
  Quality control
  Sequencing bias

## Slide 4: What is RNA sequencing?
Massive parallel sequencing of single RNA molecules
Millions of RNA-derived cDNA fragments per sample
Assembling the sequences into transcripts

## Slide 5: Illumina sequencing by synthesis
Illumina technical brochure

## Slide 6: Sequencing apparatus
Illumina technical bulletin

## Slide 7: Workflow

## Slide 8: RNAseq advantages over microarray
Single-molecule resolution
Can be used for mRNA, miRNA, ncRNA
  More quantitative (digital) expression analysis
  Not restricted to prior knowledge (probe on array)
  Discovery of novel isoforms/genes
  Mutation and novel germline SNP detection
  Translocation detection
Notes: 8

## Slide 9: Reproducibility and sensitivity

## Slide 10: Reduced processing bias

## Slide 11: RNAseq
Challenges
  Analysis of data is computationally intense
  Data storage requirements
  Resolution of different isoforms is not straightforward
  May require multiple different types of analysis
  QC and statistical analysis practices are still being developed

## Slide 12: Outline
What is RNAseq?
  How does it work?
  Advantages to microarray
  Current challenges
What are the key questions for an RNAseq experiment?
  Wet-lab
  In silico
What aspects of RNAseq most impact data analysis?
  Experimental design
  Quality control
  Sequencing bias

## Slide 13: Key Questions/Decisions
Decide the optimal method for specific needs
  Length of read; Depth of sequencing; Strand identity
Experimental design
  Technical/biological replicates; Barcoding/randomization
Decide how to analyze
  Standard Workflow
  QC (3’ bias, contamination, base quality)
Biological Impact
  Isoform prediction
  Translocation detection

## Slide 14: Read Length dependence
Short reads are more affected by repetitive regions
Shorter reads provide less information about splice isoforms, and are more affected by random error/polymorphisms

## Slide 15: Sampling methods
Auer and Doerge Genetics (2010) 185: 405–416

## Slide 16: Transcript prediction
Martin and Wang, Nature Reviews Genetics (2011) 11:671-682

## Slide 17: Outline
What is RNAseq?
  How does it work?
  Advantages to microarray
  Current challenges
What are the key questions for an RNAseq experiment?
  Wet-lab
  In silico
What aspects of RNAseq most impact data analysis?
  Experimental design
  Quality control
  Sequencing bias

## Slide 18: Quality control metrics
“One of these things is not like the other!”
- Mr. Rogers
Lilly internal data

## Slide 19: Error rate – Quality trimming
Wang et al. Nature (2008) 456:470-476
Kircher et al. Genome Biology (2009) 10:R83

## Slide 20: 3’ bias
Wang et al. Nat Rev Genet (2009)10:57-63

## Slide 21: Systematic error
Meacham et al. BMC Bioinformatics (2011) 12:451

## Slide 22: Viral RNA contamination
Results in reduced depth of sequencing of endogenous mRNA
Lilly internal data

## Slide 23: Mitochondrial content
Removal of mitochondrial reads before normalization recommended.
% of reads pre-mapping
Lilly internal data

## Slide 24: rRNA contamination
Removal of rRNA reads before normalization recommended.
% of reads pre-mapping
Lilly internal data

## Slide 25: Summary
RNA sequencing is a powerful technology which is opening up new possibilities for interrogation of the transcriptome
  This extends beyond traditional differential expression analysis to digital quantitation at the single transcript level
As with any technology, there are still growing pains, including the methodologies utilized to assess the quality of the data and quantify the significance of results
  We need your help!
  ebertpj@lilly.com